{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["Main","About","Configuration","Wall_Mount","Handheld","SD Data Logger"],"not_rendered":{"charts":0,"images":4,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Main","index":0,"n_rows":27,"n_cols":1,"rows_kept":27,"cut":false,"hidden":false,"merged":[[26,0,26,6],[27,0,27,6],[0,0,0,6],[1,0,1,6],[18,0,18,6],[17,0,17,6]]}
["MaxiFloTM Serial Comm in Excel"]
["Version 1.4.5  ed. Oct 21, 2015"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Copyright © Seil Enterprise Co."]

{"sheet":"About","index":1,"n_rows":2,"n_cols":1,"rows_kept":2,"cut":false,"hidden":true,"merged":[]}
[]
["MaxiFloTM Serial Comm in Excel"]

{"sheet":"Configuration","index":2,"n_rows":12,"n_cols":4,"rows_kept":12,"cut":false,"hidden":true,"merged":[]}
["Program Settings"]
["COM Port:",3,null,"Baud Rates"]
["Commnicator Baud Rate",9600,null,4800]
[null,null,null,9600]
[null,null,null,19200]
[null,null,null,28800]
[null,null,null,38400]
[null,null,null,57600]
["Log Switch",true,null,115200]
["Log Interval","00:00:10"]
["Excel File Name"]
["SaveToFile",false]

{"sheet":"Wall_Mount","index":3,"n_rows":1,"n_cols":15,"rows_kept":1,"cut":false,"hidden":false,"merged":[[0,5,0,6],[0,7,0,8],[0,9,0,10]]}
["IDN","Serial No.","Site ID","Description","Comm Stat","Flow Rate",null,"POS Total",null,"NEGTotal",null,"OCT","Relay","Time & Date","Logging Option"]

{"sheet":"Handheld","index":4,"n_rows":353,"n_cols":11,"rows_kept":353,"cut":false,"hidden":false,"merged":[]}
["Time Tag","Flow Rate",null,"Flow Velocity",null,"Net Total",null,"POS Total",null,"NEG Total"]
["1900-03-09","m3",69,"m3",0,"m3"]
["2019-08-27T18:44:16",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-27T18:44:21",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-27T18:44:26",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-27T18:44:31",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:04:20",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:04:25",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:04:30",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:04:35",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:07:44",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:07:49",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:07:54",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:07:59",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:08:04",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:08:09",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:08:14",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:17:11",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:17:16",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:17:21",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:17:26",0,"m3/h",0,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:17:31",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:17:36",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:17:41",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:17:46",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:17:51",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:17:54",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:29:02",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:29:12",73.913499999999999,"m3/h",0.60851100000000002,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:29:22",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:29:32",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:29:42",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:29:52",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:30:02",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:30:12",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:30:22",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T13:30:32",0,"m3/h",0,"m/s",1,"m3",1,"m3",0,"m3"]
["2019-08-29T13:30:42",0,"m3/h",0,"m/s",1,"m3",1,"m3",0,"m3"]
["2019-08-29T13:30:52",0,"m3/h",0,"m/s",1,"m3",1,"m3",0,"m3"]
["2019-08-29T13:31:02",0,"m3/h",0,"m/s",1,"m3",1,"m3",0,"m3"]
["2019-08-29T13:31:12",0,"m3/h",0,"m/s",1,"m3",1,"m3",0,"m3"]
["2019-08-29T13:31:22",0,"m3/h",0,"m/s",2,"m3",2,"m3",0,"m3"]
["2019-08-29T13:31:32",0,"m3/h",0,"m/s",2,"m3",2,"m3",0,"m3"]
["2019-08-29T13:31:42",0,"m3/h",0,"m/s",2,"m3",2,"m3",0,"m3"]
["2019-08-29T13:31:52",0,"m3/h",0,"m/s",2,"m3",2,"m3",0,"m3"]
["2019-08-29T13:32:02",0,"m3/h",0,"m/s",2,"m3",2,"m3",0,"m3"]
["2019-08-29T13:32:12",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:37:02",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:37:12",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:37:22",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:37:32",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:37:42",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:37:52",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:38:02",0,"m3/h",0,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:38:12",280.46800000000002,"m3/h",2.3090199999999999,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T13:38:22",398.86799999999999,"m3/h",3.2837800000000001,"m/s",4,"m3",4,"m3",0,"m3"]
["2019-08-29T13:38:32",454.89499999999998,"m3/h",3.7450299999999999,"m/s",5,"m3",5,"m3",0,"m3"]
["2019-08-29T13:38:42",466.37200000000001,"m3/h",3.8395199999999998,"m/s",7,"m3",7,"m3",0,"m3"]
["2019-08-29T13:38:52",453.44099999999997,"m3/h",3.7330700000000001,"m/s",8,"m3",8,"m3",0,"m3"]
["2019-08-29T13:39:02",451.423,"m3/h",3.7164600000000001,"m/s",9,"m3",9,"m3",0,"m3"]
["2019-08-29T13:39:12",462.67,"m3/h",3.80904,"m/s",10,"m3",10,"m3",0,"m3"]
["2019-08-29T13:39:22",452.05099999999999,"m3/h",3.7216200000000002,"m/s",30,"m3",30,"m3",0,"m3"]
["2019-08-29T13:39:32",452.28,"m3/h",3.7235100000000001,"m/s",31,"m3",31,"m3",0,"m3"]
["2019-08-29T13:39:42",454.94,"m3/h",3.7454100000000001,"m/s",32,"m3",32,"m3",0,"m3"]
["2019-08-29T13:39:52",449.851,"m3/h",3.7035100000000001,"m/s",33,"m3",33,"m3",0,"m3"]
["2019-08-29T13:40:02",452.315,"m3/h",3.7238000000000002,"m/s",35,"m3",35,"m3",0,"m3"]
["2019-08-29T13:40:12",449.529,"m3/h",3.70086,"m/s",36,"m3",36,"m3",0,"m3"]
["2019-08-29T13:40:22",457.40199999999999,"m3/h",3.7656800000000001,"m/s",37,"m3",37,"m3",0,"m3"]
["2019-08-29T13:40:32",451.375,"m3/h",3.7160500000000001,"m/s",38,"m3",38,"m3",0,"m3"]
["2019-08-29T13:40:42",454.25599999999997,"m3/h",3.73977,"m/s",40,"m3",40,"m3",0,"m3"]
["2019-08-29T13:40:52",449.041,"m3/h",3.6968399999999999,"m/s",41,"m3",41,"m3",0,"m3"]
["2019-08-29T13:41:02",451.149,"m3/h",3.7141899999999999,"m/s",42,"m3",42,"m3",0,"m3"]
["2019-08-29T13:41:12",455.38799999999998,"m3/h",3.7490899999999998,"m/s",43,"m3",43,"m3",0,"m3"]
["2019-08-29T13:41:22",445.69,"m3/h",3.6692499999999999,"m/s",45,"m3",45,"m3",0,"m3"]
["2019-08-29T13:41:32",446.86099999999999,"m3/h",3.6789000000000001,"m/s",46,"m3",46,"m3",0,"m3"]
["2019-08-29T13:41:42",455.37700000000001,"m3/h",3.7490000000000001,"m/s",47,"m3",47,"m3",0,"m3"]
["2019-08-29T13:41:52",438.62299999999999,"m3/h",3.6110699999999998,"m/s",48,"m3",48,"m3",0,"m3"]
["2019-08-29T13:42:02",448.39400000000001,"m3/h",3.6915100000000001,"m/s",50,"m3",50,"m3",0,"m3"]
["2019-08-29T13:42:12",446.11200000000002,"m3/h",3.6727300000000001,"m/s",51,"m3",51,"m3",0,"m3"]
["2019-08-29T13:42:22",439.68599999999998,"m3/h",3.6198299999999999,"m/s",52,"m3",52,"m3",0,"m3"]
["2019-08-29T13:42:32",438.839,"m3/h",3.6128499999999999,"m/s",53,"m3",53,"m3",0,"m3"]
["2019-08-29T13:42:42",439.06299999999999,"m3/h",3.6147,"m/s",54,"m3",54,"m3",0,"m3"]
["2019-08-29T13:42:52",448.286,"m3/h",3.6906300000000001,"m/s",56,"m3",56,"m3",0,"m3"]
["2019-08-29T13:43:02",445.20499999999998,"m3/h",3.66526,"m/s",57,"m3",57,"m3",0,"m3"]
["2019-08-29T13:43:12",437.43700000000001,"m3/h",3.6013099999999998,"m/s",58,"m3",58,"m3",0,"m3"]
["2019-08-29T13:43:22",446.98500000000001,"m3/h",3.67991,"m/s",59,"m3",59,"m3",0,"m3"]
["2019-08-29T13:43:32",439.00700000000001,"m3/h",3.6142400000000001,"m/s",61,"m3",61,"m3",0,"m3"]
["2019-08-29T13:43:42",432.36799999999999,"m3/h",3.5595699999999999,"m/s",62,"m3",62,"m3",0,"m3"]
["2019-08-29T13:43:52",429.86700000000002,"m3/h",3.53898,"m/s",63,"m3",63,"m3",0,"m3"]
["2019-08-29T13:44:02",431.5,"m3/h",3.5524300000000002,"m/s",64,"m3",64,"m3",0,"m3"]
["2019-08-29T13:44:12",430.53,"m3/h",3.5444399999999998,"m/s",65,"m3",65,"m3",0,"m3"]
["2019-08-29T13:44:22",444.97399999999999,"m3/h",3.6633599999999999,"m/s",67,"m3",67,"m3",0,"m3"]
["2019-08-29T13:44:32",440.87299999999999,"m3/h",3.6295999999999999,"m/s",68,"m3",68,"m3",0,"m3"]
["2019-08-29T13:44:42",427.476,"m3/h",3.5192999999999999,"m/s",69,"m3",69,"m3",0,"m3"]
["2019-08-29T13:44:52",416.26900000000001,"m3/h",3.4270299999999998,"m/s",70,"m3",70,"m3",0,"m3"]
["2019-08-29T13:45:02",418.55599999999998,"m3/h",3.4458700000000002,"m/s",71,"m3",71,"m3",0,"m3"]
["2019-08-29T13:45:12",407.90899999999999,"m3/h",3.3582100000000001,"m/s",73,"m3",73,"m3",0,"m3"]
["2019-08-29T13:45:22",412.88799999999998,"m3/h",3.3992,"m/s",74,"m3",74,"m3",0,"m3"]
["2019-08-29T13:45:32",417.226,"m3/h",3.4349099999999999,"m/s",75,"m3",75,"m3",0,"m3"]
["2019-08-29T13:45:42",416.06400000000002,"m3/h",3.4253499999999999,"m/s",76,"m3",76,"m3",0,"m3"]
["2019-08-29T13:45:52",410.74299999999999,"m3/h",3.3815400000000002,"m/s",77,"m3",77,"m3",0,"m3"]
["2019-08-29T13:46:02",413.351,"m3/h",3.4030200000000002,"m/s",78,"m3",78,"m3",0,"m3"]
["2019-08-29T13:46:12",411.887,"m3/h",3.3909600000000002,"m/s",80,"m3",80,"m3",0,"m3"]
["2019-08-29T13:46:22",414.13,"m3/h",3.40943,"m/s",81,"m3",81,"m3",0,"m3"]
["2019-08-29T13:46:32",412.05,"m3/h",3.3923000000000001,"m/s",82,"m3",82,"m3",0,"m3"]
["2019-08-29T13:46:42",414.875,"m3/h",3.4155600000000002,"m/s",83,"m3",83,"m3",0,"m3"]
["2019-08-29T13:46:52",405.76499999999999,"m3/h",3.34056,"m/s",84,"m3",84,"m3",0,"m3"]
["2019-08-29T13:47:02",388.255,"m3/h",3.1964000000000001,"m/s",85,"m3",85,"m3",0,"m3"]
["2019-08-29T13:47:12",408.41699999999997,"m3/h",3.3624000000000001,"m/s",86,"m3",86,"m3",0,"m3"]
["2019-08-29T13:47:22",420.25400000000002,"m3/h",3.4598399999999998,"m/s",87,"m3",87,"m3",0,"m3"]
["2019-08-29T13:47:32",422.63099999999997,"m3/h",3.4794200000000002,"m/s",89,"m3",89,"m3",0,"m3"]
["2019-08-29T13:47:42",422.274,"m3/h",3.47648,"m/s",90,"m3",90,"m3",0,"m3"]
["2019-08-29T13:47:52",421.00599999999997,"m3/h",3.46604,"m/s",91,"m3",91,"m3",0,"m3"]
["2019-08-29T13:48:02",417.00099999999998,"m3/h",3.4330699999999998,"m/s",92,"m3",92,"m3",0,"m3"]
["2019-08-29T13:48:12",418.82499999999999,"m3/h",3.44808,"m/s",93,"m3",93,"m3",0,"m3"]
["2019-08-29T13:48:22",420.19900000000001,"m3/h",3.45939,"m/s",94,"m3",94,"m3",0,"m3"]
["2019-08-29T13:48:32",266.77600000000001,"m3/h",2.1962999999999999,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:48:42",46.3566,"m3/h",0.38164199999999998,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:48:52",0,"m3/h",0,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:49:02",0,"m3/h",0,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:49:12",0,"m3/h",0,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:51:32",0,"m3/h",0,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:51:42",0,"m3/h",0,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:51:52",0,"m3/h",0,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:52:02",293.21800000000002,"m3/h",2.4139900000000001,"m/s",96,"m3",96,"m3",0,"m3"]
["2019-08-29T13:52:12",418.13600000000002,"m3/h",3.4424100000000002,"m/s",97,"m3",97,"m3",0,"m3"]
["2019-08-29T13:52:22",412.28100000000001,"m3/h",3.3942100000000002,"m/s",98,"m3",98,"m3",0,"m3"]
["2019-08-29T13:52:32",408.36200000000002,"m3/h",3.3619400000000002,"m/s",99,"m3",99,"m3",0,"m3"]
["2019-08-29T13:52:42",415.93599999999998,"m3/h",3.4243000000000001,"m/s",101,"m3",101,"m3",0,"m3"]
["2019-08-29T13:52:52",419.59399999999999,"m3/h",3.4544100000000002,"m/s",102,"m3",102,"m3",0,"m3"]
["2019-08-29T13:53:02",413.80599999999998,"m3/h",3.4067599999999998,"m/s",103,"m3",103,"m3",0,"m3"]
["2019-08-29T13:53:12",419.786,"m3/h",3.4559899999999999,"m/s",104,"m3",104,"m3",0,"m3"]
["2019-08-29T13:53:22",148.554,"m3/h",1.2230099999999999,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:53:32",25.422799999999999,"m3/h",0.20930000000000001,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:53:42",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:53:52",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:54:02",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:54:12",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:54:22",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:54:32",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:54:42",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:54:52",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:55:02",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:55:12",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:57:10",0,"m3/h",0,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:57:20",257.67500000000001,"m3/h",2.1213700000000002,"m/s",105,"m3",105,"m3",0,"m3"]
["2019-08-29T13:57:30",339.96499999999997,"m3/h",2.7988400000000002,"m/s",106,"m3",106,"m3",0,"m3"]
["2019-08-29T13:57:40",354.52600000000001,"m3/h",2.91873,"m/s",107,"m3",107,"m3",0,"m3"]
["2019-08-29T13:57:50",355.27600000000001,"m3/h",2.9249000000000001,"m/s",108,"m3",108,"m3",0,"m3"]
["2019-08-29T13:58:00",358.69600000000003,"m3/h",2.9530500000000002,"m/s",109,"m3",109,"m3",0,"m3"]
["2019-08-29T13:58:10",382.54700000000003,"m3/h",3.14941,"m/s",110,"m3",110,"m3",0,"m3"]
["2019-08-29T13:58:20",384.94400000000002,"m3/h",3.1691500000000001,"m/s",111,"m3",111,"m3",0,"m3"]
["2019-08-29T13:58:30",394.90800000000002,"m3/h",3.2511800000000002,"m/s",112,"m3",112,"m3",0,"m3"]
["2019-08-29T13:58:40",402.30799999999999,"m3/h",3.3121,"m/s",114,"m3",114,"m3",0,"m3"]
["2019-08-29T13:58:50",401.88400000000001,"m3/h",3.3086099999999998,"m/s",115,"m3",115,"m3",0,"m3"]
["2019-08-29T13:59:00",404.32600000000002,"m3/h",3.3287200000000001,"m/s",116,"m3",116,"m3",0,"m3"]
["2019-08-29T13:59:10",428.49900000000002,"m3/h",3.52773,"m/s",117,"m3",117,"m3",0,"m3"]
["2019-08-29T13:59:20",425.40800000000002,"m3/h",3.5022799999999998,"m/s",125,"m3",125,"m3",0,"m3"]
["2019-08-29T13:59:30",423.41,"m3/h",3.48583,"m/s",126,"m3",126,"m3",0,"m3"]
["2019-08-29T13:59:40",433.41300000000001,"m3/h",3.5681799999999999,"m/s",127,"m3",127,"m3",0,"m3"]
["2019-08-29T13:59:50",427.66899999999998,"m3/h",3.5208900000000001,"m/s",128,"m3",128,"m3",0,"m3"]
["2019-08-29T14:00:00",428.036,"m3/h",3.5239199999999999,"m/s",129,"m3",129,"m3",0,"m3"]
["2019-08-29T14:00:10",422.45699999999999,"m3/h",3.4779800000000001,"m/s",131,"m3",131,"m3",0,"m3"]
["2019-08-29T14:00:20",163.98699999999999,"m3/h",1.3500700000000001,"m/s",131,"m3",131,"m3",0,"m3"]
["2019-08-29T14:00:30",336.85599999999999,"m3/h",2.77325,"m/s",132,"m3",132,"m3",0,"m3"]
["2019-08-29T14:00:40",411.78,"m3/h",3.3900800000000002,"m/s",133,"m3",133,"m3",0,"m3"]
["2019-08-29T14:00:50",421.899,"m3/h",3.4733900000000002,"m/s",134,"m3",134,"m3",0,"m3"]
["2019-08-29T14:01:00",431.834,"m3/h",3.55518,"m/s",135,"m3",135,"m3",0,"m3"]
["2019-08-29T14:01:10",400.42899999999997,"m3/h",3.2966299999999999,"m/s",137,"m3",137,"m3",0,"m3"]
["2019-08-29T14:01:20",379.36500000000001,"m3/h",3.1232099999999998,"m/s",138,"m3",138,"m3",0,"m3"]
["2019-08-29T14:01:30",336.69299999999998,"m3/h",2.7719100000000001,"m/s",139,"m3",139,"m3",0,"m3"]
["2019-08-29T14:01:40",297.97800000000001,"m3/h",2.4531800000000001,"m/s",140,"m3",140,"m3",0,"m3"]
["2019-08-29T14:01:50",363.26400000000001,"m3/h",2.9906600000000001,"m/s",140,"m3",140,"m3",0,"m3"]
["2019-08-29T14:02:00",409.06900000000002,"m3/h",3.3677600000000001,"m/s",142,"m3",142,"m3",0,"m3"]
["2019-08-29T14:02:10",349.52800000000002,"m3/h",2.87757,"m/s",143,"m3",143,"m3",0,"m3"]
["2019-08-29T14:02:20",337.536,"m3/h",2.7788499999999998,"m/s",144,"m3",144,"m3",0,"m3"]
["2019-08-29T14:02:30",295.72899999999998,"m3/h",2.43466,"m/s",144,"m3",144,"m3",0,"m3"]
["2019-08-29T14:02:40",269.851,"m3/h",2.2216200000000002,"m/s",145,"m3",145,"m3",0,"m3"]
["2019-08-29T14:02:50",266.93099999999998,"m3/h",2.1975699999999998,"m/s",146,"m3",146,"m3",0,"m3"]
["2019-08-29T14:03:00",249.39,"m3/h",2.0531600000000001,"m/s",147,"m3",147,"m3",0,"m3"]
["2019-08-29T14:03:10",189.16300000000001,"m3/h",1.5573300000000001,"m/s",147,"m3",147,"m3",0,"m3"]
["2019-08-29T14:03:20",159.584,"m3/h",1.3138099999999999,"m/s",148,"m3",148,"m3",0,"m3"]
["2019-08-29T14:03:30",157.16800000000001,"m3/h",1.29392,"m/s",148,"m3",148,"m3",0,"m3"]
["2019-08-29T14:03:40",79.689400000000006,"m3/h",0.65606299999999995,"m/s",149,"m3",149,"m3",0,"m3"]
["2019-08-29T14:03:50",65.795199999999994,"m3/h",0.54167500000000002,"m/s",149,"m3",149,"m3",0,"m3"]
["2019-08-29T14:04:00",62.713200000000001,"m3/h",0.51630200000000004,"m/s",149,"m3",149,"m3",0,"m3"]
["2019-08-29T14:04:10",0,"m3/h",0,"m/s",149,"m3",149,"m3",0,"m3"]
["2019-08-29T14:04:20",0,"m3/h",0,"m/s",149,"m3",149,"m3",0,"m3"]
["2019-08-29T14:04:30",0,"m3/h",0,"m/s",150,"m3",150,"m3",0,"m3"]
["2019-08-29T14:48:50",0,"m3/h",0,"m/s",150,"m3",150,"m3",0,"m3"]
["2019-08-29T14:49:00",0,"m3/h",0,"m/s",150,"m3",150,"m3",0,"m3"]
["2019-08-29T14:49:10",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:49:20",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:49:30",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:49:40",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:49:50",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:50:00",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:50:10",0,"m3/h",0,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:50:20",230.328,"m3/h",1.8962300000000001,"m/s",0,"m3",0,"m3",0,"m3"]
["2019-08-29T14:50:30",250.131,"m3/h",2.0592600000000001,"m/s",1,"m3",1,"m3",0,"m3"]
["2019-08-29T14:50:40",248.643,"m3/h",2.0470199999999998,"m/s",1,"m3",1,"m3",0,"m3"]
["2019-08-29T14:50:50",302.46300000000002,"m3/h",2.4901,"m/s",2,"m3",2,"m3",0,"m3"]
["2019-08-29T14:51:00",363.43700000000001,"m3/h",2.9920800000000001,"m/s",3,"m3",3,"m3",0,"m3"]
["2019-08-29T14:51:10",366.70400000000001,"m3/h",3.01898,"m/s",4,"m3",4,"m3",0,"m3"]
["2019-08-29T14:51:20",370.07900000000001,"m3/h",3.04677,"m/s",296,"m3",296,"m3",0,"m3"]
["2019-08-29T14:51:30",365.28199999999998,"m3/h",3.0072800000000002,"m/s",297,"m3",297,"m3",0,"m3"]
["2019-08-29T14:51:40",366.45100000000002,"m3/h",3.0169000000000001,"m/s",298,"m3",298,"m3",0,"m3"]
["2019-08-29T14:51:50",371.09,"m3/h",3.0550899999999999,"m/s",299,"m3",299,"m3",0,"m3"]
["2019-08-29T14:52:00",420.46499999999997,"m3/h",3.4615800000000001,"m/s",300,"m3",300,"m3",0,"m3"]
["2019-08-29T14:52:10",428.84699999999998,"m3/h",3.5305900000000001,"m/s",301,"m3",301,"m3",0,"m3"]
["2019-08-29T14:52:20",419.35700000000003,"m3/h",3.4524599999999999,"m/s",302,"m3",302,"m3",0,"m3"]
["2019-08-29T14:52:30",441.185,"m3/h",3.6321699999999999,"m/s",304,"m3",304,"m3",0,"m3"]
["2019-08-29T14:52:40",449.34500000000003,"m3/h",3.6993399999999999,"m/s",305,"m3",305,"m3",0,"m3"]
["2019-08-29T14:52:50",438.47300000000001,"m3/h",3.6098400000000002,"m/s",306,"m3",306,"m3",0,"m3"]
["2019-08-29T14:53:00",449.49200000000002,"m3/h",3.7005499999999998,"m/s",307,"m3",307,"m3",0,"m3"]
["2019-08-29T14:53:10",442.68299999999999,"m3/h",3.6444999999999999,"m/s",309,"m3",309,"m3",0,"m3"]
["2019-08-29T14:53:20",434.37599999999998,"m3/h",3.5761099999999999,"m/s",310,"m3",310,"m3",0,"m3"]
["2019-08-29T14:53:30",475.50099999999998,"m3/h",3.9146800000000002,"m/s",311,"m3",311,"m3",0,"m3"]
["2019-08-29T14:53:40",507.613,"m3/h",4.1790500000000002,"m/s",312,"m3",312,"m3",0,"m3"]
["2019-08-29T14:53:50",484.65899999999999,"m3/h",3.9900699999999998,"m/s",314,"m3",314,"m3",0,"m3"]
["2019-08-29T14:54:00",491.41899999999998,"m3/h",4.0457299999999998,"m/s",315,"m3",315,"m3",0,"m3"]
["2019-08-29T14:54:10",485.20800000000003,"m3/h",3.9946000000000002,"m/s",317,"m3",317,"m3",0,"m3"]
["2019-08-29T14:54:20",463.55500000000001,"m3/h",3.8163399999999998,"m/s",318,"m3",318,"m3",0,"m3"]
["2019-08-29T14:54:30",452.69900000000001,"m3/h",3.72695,"m/s",319,"m3",319,"m3",0,"m3"]
["2019-08-29T14:54:40",449.86500000000001,"m3/h",3.7036199999999999,"m/s",320,"m3",320,"m3",0,"m3"]
["2019-08-29T14:54:50",445.17599999999999,"m3/h",3.6650200000000002,"m/s",322,"m3",322,"m3",0,"m3"]
["2019-08-29T14:55:00",444.54899999999998,"m3/h",3.6598600000000001,"m/s",323,"m3",323,"m3",0,"m3"]
["2019-08-29T14:55:10",439.15600000000001,"m3/h",3.6154600000000001,"m/s",324,"m3",324,"m3",0,"m3"]
["2019-08-29T14:55:20",436.59399999999999,"m3/h",3.5943700000000001,"m/s",325,"m3",325,"m3",0,"m3"]
["2019-08-29T14:55:30",446.92,"m3/h",3.6793800000000001,"m/s",326,"m3",326,"m3",0,"m3"]
["2019-08-29T14:55:40",448.21600000000001,"m3/h",3.6900499999999998,"m/s",328,"m3",328,"m3",0,"m3"]
["2019-08-29T14:55:50",431.61500000000001,"m3/h",3.5533700000000001,"m/s",329,"m3",329,"m3",0,"m3"]
["2019-08-29T14:56:00",426.27699999999999,"m3/h",3.50943,"m/s",330,"m3",330,"m3",0,"m3"]
["2019-08-29T14:56:10",443.57799999999997,"m3/h",3.6518700000000002,"m/s",331,"m3",331,"m3",0,"m3"]
["2019-08-29T14:56:20",442.60399999999998,"m3/h",3.64385,"m/s",333,"m3",333,"m3",0,"m3"]
["2019-08-29T14:56:30",452.13200000000001,"m3/h",3.7222900000000001,"m/s",334,"m3",334,"m3",0,"m3"]
["2019-08-29T14:56:40",246.86699999999999,"m3/h",2.0324,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:56:50",19.396599999999999,"m3/h",0.159687,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:57:00",0,"m3/h",0,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:57:10",0,"m3/h",0,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:57:20",0,"m3/h",0,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:57:30",0,"m3/h",0,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:57:40",0,"m3/h",0,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:57:50",0,"m3/h",0,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:58:00",141.97800000000001,"m3/h",1.1688700000000001,"m/s",335,"m3",335,"m3",0,"m3"]
["2019-08-29T14:58:10",359.20400000000001,"m3/h",2.9572400000000001,"m/s",336,"m3",336,"m3",0,"m3"]
["2019-08-29T14:58:20",449.40199999999999,"m3/h",3.6998199999999999,"m/s",337,"m3",337,"m3",0,"m3"]
["2019-08-29T14:58:30",459.24299999999999,"m3/h",3.7808299999999999,"m/s",338,"m3",338,"m3",0,"m3"]
["2019-08-29T14:58:40",453.46499999999997,"m3/h",3.73326,"m/s",340,"m3",340,"m3",0,"m3"]
["2019-08-29T14:58:50",455.98700000000002,"m3/h",3.7540300000000002,"m/s",341,"m3",341,"m3",0,"m3"]
["2019-08-29T14:59:00",462.67899999999997,"m3/h",3.8091200000000001,"m/s",342,"m3",342,"m3",0,"m3"]
["2019-08-29T14:59:10",457.51799999999997,"m3/h",3.7666300000000001,"m/s",343,"m3",343,"m3",0,"m3"]
["2019-08-29T14:59:20",463.3,"m3/h",3.8142299999999998,"m/s",345,"m3",345,"m3",0,"m3"]
["2019-08-29T14:59:30",483.541,"m3/h",3.9808699999999999,"m/s",346,"m3",346,"m3",0,"m3"]
["2019-08-29T14:59:40",501.80599999999998,"m3/h",4.13124,"m/s",347,"m3",347,"m3",0,"m3"]
["2019-08-29T14:59:50",508.19600000000003,"m3/h",4.1838499999999996,"m/s",349,"m3",349,"m3",0,"m3"]
["2019-08-29T15:00:00",489.92899999999997,"m3/h",4.0334700000000003,"m/s",350,"m3",350,"m3",0,"m3"]
["2019-08-29T15:00:10",192.03100000000001,"m3/h",1.58094,"m/s",351,"m3",351,"m3",0,"m3"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,24.331099999999999,"m3/h"]

{"sheet":"SD Data Logger","index":5,"n_rows":18,"n_cols":13,"rows_kept":18,"cut":false,"hidden":false,"merged":[[0,9,0,10],[0,1,0,2],[0,3,0,4],[0,5,0,6],[0,7,0,8]]}
["Date/Time","Flow Rate",null,"Velocity",null,"Net Totalizer",null,"Heat Flow Rate",null,"Heat Totzlizer",null,"Temp-Low","Temp-High"]
[null,43027.413402777776,0,"m3/h",0,"m/s"]
["2017-10-19T09:55:28",0,"m3/h"]
["2017-10-19T10:19:13",43027.430127314816,0,"m3/h",0,"m/s",0,"m3"]
["2017-10-19T10:19:33",0,"m3/h",0,"m/s",0,"m3"]
["2017-10-19T10:19:41",0,"m3/h",0,"m/s",0,"m3"]
["2017-10-19T10:19:46",0,"m3/h",0,"m/s",0,"m3"]
["2017-10-19T10:19:51",0,"m3/h",0,"m/s",0,"m3"]
["2017-10-19T10:19:56",0,"m3/h",0,"m/s",0,"m3"]
["2017-10-19T10:20:01",0,"m3/h",0,"m/s",0,"m3"]
["2017-10-19T10:20:06",0,"l/m",0,"m/s",0,"L"]
["2017-10-19T10:20:08",0,"l/m",0,"m/s",0,"L"]
["2017-10-19T10:20:13",0,"l/m",0,"m/s",0,"L"]
["2020-09-11T12:59:15",0,"m3/h"]
["2020-09-11T12:59:25",0,"m3/h",0,"m/s",0,"m3"]
["2020-09-11T12:59:35",0,"m3/h",0,"m/s",0,"m3"]
["2020-09-11T12:59:40",0,"m3/h",0,"m/s",0,"m3"]
["2020-09-11T12:59:45",0,"m3/h",0,"m/s",0,"m3"]